# SUNPOR Line E10 — Information Request for AI/ML Models (Model 1 & Model 2)

Dear SUNPOR Team,

We are implementing the AI/ML process monitoring for Extrusion Line E10. Model 1 (Process State) is already running live and can reliably detect stable production. To complete Model 1 and begin Model 2 (Low Production), we need your process expertise on how the line is operated on the floor.

Your answers will help us align the system with real production practice and avoid false alarms.

# Why we are asking

The extrusion line behaves differently in each production phase. The same signal can be normal in one phase and a problem in another.

Example: Low melt pressure is expected during an empty run, but it would be a concern during stable production.

To teach the system this correctly, we need your definitions of each phase and a few real examples from Line E10.

# Section 1 — Material Production Status (priority)

We use the WinCC signal Material Production Status (1 = producing, 0 = not producing) in our rules.

Please help us confirm:

What exactly does Status = 1 mean on Line E10? Only during normal stable production? Also during startup, empty run, or cleaning?

When does Status change to 0? During shutdown or heating? When the extruder switches to scrap due to dosing alarms (EPS / pentane / nitrogen)?

In which phases is Status always 0, and in which can it be 1?

Why this matters: This flag is central to distinguishing stable production from startup, empty run, and fault conditions.

# Section 2 — Feeder operating modes

Our signal data shows operating mode codes on the feeders, such as GD, VR, VS, LF, EF, and others.

Please provide:

The official meaning of each mode code used on Line E10.

Which modes typically appear during: normal stable production, startup, empty run, fault / alarm situations.

Why this matters: These modes help the system understand whether the line is ramping up, running normally, or in a special operating state.

# Section 3 — Production phase definitions

Please describe how operators and shift supervisors recognize each phase in practice — based on what you see on WinCC and on the floor.

| Phase | Please describe |
| --- | --- |
| Heating up | When does it start and end? Is the extruder running? Are feeders active? |
| Startup | How is startup different from heating? When does startup end? |
| Stable production | Besides throughput near setpoint, what else confirms stable run? |
| Low production | See Section 4 |
| Empty run | Extruder running with no material — is this correct for E10? |
| Cleaning run | What equipment is running (feeders, extruder, water system)? |
| Cooling down | How do you distinguish cooling from full shutdown? |
| Shutdown | Which signals confirm the line is fully stopped? |
| Fault | What counts as a fault? (dosing scrap, feeder errors, pressure trips, etc.) |

For each phase, if possible, please name 2–3 key WinCC signals that best indicate that phase.

Why this matters: Model 1 uses these definitions to label the current production phase. Stable production is already confirmed; the other phases still need calibration against your operational knowledge.

# Section 4 — Low production definition (for Model 2)

Model 2 will detect when the line runs below target throughput during real production — not during startup, shutdown, or empty run.

Please confirm:

What is considered low production? (e.g. throughput below 80% of setpoint for more than 15 minutes?)

Which signal should we compare? Total Throughput Actual vs Setpoint, or individual feeder actual vs setpoint?

Planned vs unplanned slowdown: How do you record intentional slowdowns? Should the system treat these differently?

Relation to dosing alarms: When EPS, pentane, or nitrogen dosing triggers scrap, is that low production, fault, or something else?

Why this matters: Model 2 depends on Model 1. We must not flag normal startup or planned slowdown as a production problem.

# Section 5 — Real examples from Line E10 (most helpful for calibration)

If available, please share date/time ranges (or production run references) when the line was clearly in each phase, with a short note about what was happening.

Format example:

2026-06-20, 08:15–08:45 — Startup, material 753, feeders ramping, throughput not yet at setpoint.

| Phase | Example needed |
| --- | --- |
| Heating up | 1–2 examples |
| Startup | 1–2 examples |
| Stable production | Already have data; additional material types welcome |
| Low production | 2–3 examples with cause |
| Empty run | 1–2 examples |
| Cleaning | 1–2 examples |
| Shutdown / cooling | 1–2 examples |
| Fault | 1–2 examples (what triggered it) |

Why this matters: These examples allow us to calibrate and validate the rules against real Line E10 behavior.

# Section 6 — Quick validation during normal production

When the line is in normal stable production, we would appreciate a brief review:

Does the system showing “stable production” match what you see on the floor?

If not, please tell us what phase you would call it and what looks different on WinCC.

This helps us confirm the live system matches operator reality.

# What we can deliver once we receive this

Complete and validated Model 1 for all production phases

Reliable phase detection on the dashboard

Start of Model 2 (Low Production) with correct thresholds

Fewer false alarms in later quality and maintenance models

# Priority — minimum needed this week

If time is limited, these five items unblock us most:

Meaning of Material Production Status = 1 in each phase

Feeder operating mode definitions

Short floor definition of each production phase

Low production threshold (% below setpoint, duration)

2–3 real examples per non-stable phase (where available)

Thank you for your support. Your operational experience is essential to make the AI system accurate and useful for the production team.

Please feel free to answer in bullet points or table form.